High sensitivity H2 gas sensor gas sensor utilizing large on/off ratio of amorphous In-Ga-Zn-O thin film transistor

A. Shimizu1, K. Ide1,2, T. Katase1,2, H. Hiramatsu1,2, H. Hosono1 and T. Kamiya1,2

1 MDX Research Center for Element Strategy, Institute of Integrated Research,

Institute of Science Tokyo, Yokohama, Japan

2 Materials and Structures Laboratory, Institute of Integrated Research,

Institute of Science Tokyo, Yokohama, Japan

E mail: shimizu.a.af@m.titech.ac.jp

Amorphous oxide semiconductors, (AOSs) such as amorphous In-Ga-Zn-O (a-IGZO), are widely used as channel materials in thin film transistors (TFTs) for flat-panel displays [1]. Applications of AOS TFTs are extended beyond displays e.g. to gas sensors. a-IGZO TFTs can attain large on/off ratios more than 10 orders of magnitude, so the a-IGZO TFT gas sensors are expected to achieve ultra-high sensitivity. a-IGZO TFT gas sensors have been applied to detection of NO2 [2] and volatile organic molecules [3] so far. However, only a-IGZO thin film has been used for H2 gas detection [4], and there have been a few reports using a-IGZO TFTs. In this study, we fabricated a-IGZO TFTs with good switching characteristics at high temperatures where H2 gas sensor operates and evaluated the gas sensor performances.

We measured a-IGZO TFT performance at 250oC in air and a mixing gas of H2 and air. The H2 concentration of the mixing gas was fixed at 100 ppm. First, we measured an initial I-V curve in air. Then we introduces the H2 gas and measured I-V curves cyclically for 5 times at one-minute intervals. After the measurements in H2, we stopped H2 flow and measured I-V curves for 20 times. Fig. (a) shows transfer curves of a-IGZO TFTs in air without and with H2 flow. After the H2 introduction, the turn-on voltage (Von) shifts to the negative VG. This shift would be caused by H2 adsorption on the a-IGZO surface, which increases the carrier density and the conductivity of a-IGZO [4]. Fig. (b) shows the VG dependece of H2 gas sensitivity calculated from the ratio of ID at each VG in air without and with H2 flow. The gas sensitivity reached a maximum value of >106, indicating that a high sensitivity H2 gas sensor can be realized by applying good switching of a-IGZO TFTs. Fig(c) shows the time variation of Von. The Von shifts in response to the flow change of H2 flow, confirming that the change in Von is related to H2 adsorption and desorption.

Fig. 1(a) Changes of a-IGZO TFT transfer curve by flowing H2 gas. (b) VG dependence of H2 gas sensitivity calculated from the ratio of ID in air and H2. (c) Time dependence of Von by On/Off switching of H2. Yellow and gray regions indicate H₂ on and off, respectively.

[1] K. Nomura, et.al., Nature 432 (2004) 225. [2] K. Kim, et al., ACS Appl. Mater. Interfaces, 2018, 10, 10185−10193. [3] H. Im et. Al., ACS Sens. 2023, 8, 3370−3379 [4] D.J. Yang et al., Sensors and Actuators B 171– 172 (2012) 1166– 1171